## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Bunnvale |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1019001 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized | [9 empty] | 1
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown | [9 empty] | 32
V. Non-lead | [9 empty] | 71
|  | # of LSLs to be replaced/identified: |  | 33 |  |  | # of LSLs to be replaced annually: |  |  | 0.1
|  | Total # of service lines in PCWS: |  | 104 |  |  | # of known LSLs |  |  | 1
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-10 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 291 RT 513, CALIFON, NJ 07830 | 07830 | CALIFON |  |  |  |  | 40.7021 | -74.883 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | RRN
| 18 BOULDER FIELD RD, CALIFON, NJ 07830-4155 | 07830-4155 | CALIFON |  |  |  |  | 40.7065 | -74.8836 |  | UL | N | C |  | UX |  |  |  |  | F1
| BOULDERFIELD STATION, CALIFON, NJ 07830 | 07830 | CALIFON |  |  |  |  | 40.7087 | -74.8847 |  | UL | N | UX |  | UX
| 112 HILLSIDE TER, CALIFON, NJ 07830-4118 | 07830-4118 | CALIFON |  |  |  |  | 40.7031 | -74.8811 |  | UL | N | UX |  | P | [8 empty] | F1
| 40 BUNNVALE RD, CALIFON, NJ 07830-4137 | 07830-4137 | CALIFON |  |  |  |  | 40.7083 | -74.8862 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 44 BUNNVALE RD, CALIFON, NJ 07830-4137 | 07830-4137 | CALIFON |  |  |  |  | 40.7088 | -74.8855 |  | UL | N | UX |  | UX
| 3 BOULDER FIELD RD, CALIFON, NJ 07830-4151 | 07830-4151 | CALIFON |  |  |  |  | 40.7087 | -74.8843 |  | UL | N | P |  | UX |  |  |  |  | F1
| 4 BOULDER FIELD RD, CALIFON, NJ 07830-4154 | 07830-4154 | CALIFON |  |  |  |  | 40.7087 | -74.8847 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 BOULDER FIELD RD, CALIFON, NJ 07830-4152 | 07830-4152 | CALIFON |  |  |  |  | 40.7082 | -74.8841 |  | UL | N | UX |  | UX
| 7 BOULDER FIELD RD, CALIFON, NJ 07830-4152 | 07830-4152 | CALIFON |  |  |  |  | 40.7077 | -74.8844 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 BOULDER FIELD RD, CALIFON, NJ 07830-4155 | 07830-4155 | CALIFON |  |  |  |  | 40.7074 | -74.8847 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 BOULDER FIELD RD, CALIFON, NJ 07830-4152 | 07830-4152 | CALIFON |  |  |  |  | 40.7074 | -74.8844 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 BOULDER FIELD RD, CALIFON, NJ 07830-4155 | 07830-4155 | CALIFON |  |  |  |  | 40.707 | -74.8845 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 BOULDER FIELD RD, CALIFON, NJ 07830-4153 | 07830-4153 | CALIFON |  |  |  |  | 40.7069 | -74.8838 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 BUNN ST, CALIFON, NJ 07830-4122 | 07830-4122 | CALIFON |  |  |  |  | 40.7074 | -74.8834 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 15 BUNN ST, CALIFON, NJ 07830-4122 | 07830-4122 | CALIFON |  |  |  |  | 40.7076 | -74.8829 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 BUNN ST, CALIFON, NJ 07830-4122 | 07830-4122 | CALIFON |  |  |  |  | 40.7078 | -74.8825 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 BUNN ST, CALIFON, NJ 07830-4122 | 07830-4122 | CALIFON |  |  |  |  | 40.7081 | -74.8823 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 BUNN ST, CALIFON, NJ 07830-4121 | 07830-4121 | CALIFON |  |  |  |  | 40.7081 | -74.8826 |  | UL | N | P |  | UX |  |  |  |  | F1
| 16 BUNN ST, CALIFON, NJ 07830-4121 | 07830-4121 | CALIFON |  |  |  |  | 40.708 | -74.8829 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 BUNN ST, CALIFON, NJ 07830-4121 | 07830-4121 | CALIFON |  |  |  |  | 40.7078 | -74.8832 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 BUNN ST, CALIFON, NJ 07830-4121 | 07830-4121 | CALIFON |  |  |  |  | 40.7076 | -74.8835 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7078 | -74.8849 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7071 | -74.8852 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | RRN
| 7 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7068 | -74.8854 |  | UL | N | P |  | UX |  |  |  |  | F1
| 9 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7064 | -74.8848 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7061 | -74.8844 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 HIGH VIEW ST, CALIFON, NJ 07830-4124 | 07830-4124 | CALIFON |  |  |  |  | 40.7059 | -74.8841 |  | UL | N | UX |  | UX
| 16 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.7057 | -74.8842 |  | UL | N | C |  | UX |  |  |  |  | F1
| 14 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.7059 | -74.8846 |  | UL | N | C |  | UX |  |  |  |  | F1
| 12 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.706 | -74.8849 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.7062 | -74.8852 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.7064 | -74.8856 |  | UL | N | UX |  | UX
| 35 SUN MOUNTAIN ST, CALIFON, NJ 07830-4128 | 07830-4128 | CALIFON |  |  |  |  | 40.7072 | -74.8814 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 33 SUN MOUNTAIN ST, CALIFON, NJ 07830-4128 | 07830-4128 | CALIFON |  |  |  |  | 40.7074 | -74.8812 |  | UL | N | UX |  | UX
| 31 SUN MOUNTAIN ST, CALIFON, NJ 07830-4128 | 07830-4128 | CALIFON |  |  |  |  | 40.7075 | -74.8809 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | RRN
| 28 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7077 | -74.8807 |  | UL | N | C |  | UX |  |  |  |  | F1
| 32 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7076 | -74.8813 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 34 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7074 | -74.8816 |  | UL | N | C |  | UX |  |  |  |  | F1
| 36 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7072 | -74.8819 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 43 SUN MOUNTAIN ST, CALIFON, NJ 07830-4129 | 07830-4129 | CALIFON |  |  |  |  | 40.7065 | -74.8827 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 44 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7066 | -74.8831 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 45 SUN MOUNTAIN ST, CALIFON, NJ 07830-4129 | 07830-4129 | CALIFON |  |  |  |  | 40.7063 | -74.883 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 420 NORTH RD, CALIFON, NJ 07830-4146 | 07830-4146 | CALIFON |  |  |  |  | 40.7067 | -74.8819 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 421 NORTH RD, CALIFON, NJ 07830-4150 | 07830-4150 | CALIFON |  |  |  |  | 40.7066 | -74.8822 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 400 NORTH RD, CALIFON, NJ 07830-4145 | 07830-4145 | CALIFON |  |  |  |  | 40.704 | -74.8791 |  | UL | N | UX |  | UX
| 402 NORTH RD, CALIFON, NJ 07830-4145 | 07830-4145 | CALIFON |  |  |  |  | 40.7042 | -74.8794 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 404 NORTH RD, CALIFON, NJ 07830-4145 | 07830-4145 | CALIFON |  |  |  |  | 40.7045 | -74.8796 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 406 NORTH RD, CALIFON, NJ 07830-4145 | 07830-4145 | CALIFON |  |  |  |  | 40.7049 | -74.8801 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 407 NORTH RD, CALIFON, NJ 07830-4148 | 07830-4148 | CALIFON |  |  |  |  | 40.7047 | -74.8803 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 405 NORTH RD, CALIFON, NJ 07830-4148 | 07830-4148 | CALIFON |  |  |  |  | 40.7045 | -74.8801 |  | NL |  | O | P/C | O | P/C |  |  |  | RRN |  |  |  | RRN
| 403 NORTH RD, CALIFON, NJ 07830-4148 | 07830-4148 | CALIFON |  |  |  |  | 40.7042 | -74.8798 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 ORCHARD ST, CALIFON, NJ 07830-4135 | 07830-4135 | CALIFON |  |  |  |  | 40.7071 | -74.8801 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.707 | -74.8797 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 ORCHARD ST, CALIFON, NJ 07830-4135 | 07830-4135 | CALIFON |  |  |  |  | 40.7069 | -74.8804 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.7068 | -74.88 |  | UL | N | C |  | UX |  |  |  |  | F1
| 6 ORCHARD ST, CALIFON, NJ 07830-4135 | 07830-4135 | CALIFON |  |  |  |  | 40.7067 | -74.8808 |  | UL | N | C |  | UX |  |  |  |  | F1
| 7 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.7066 | -74.8803 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 ORCHARD ST, CALIFON, NJ 07830-4135 | 07830-4135 | CALIFON |  |  |  |  | 40.7065 | -74.8812 |  | UL | N | UX |  | C | [8 empty] | F1
| 9 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.7064 | -74.8807 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.7062 | -74.8811 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 ORCHARD ST, CALIFON, NJ 07830-4132 | 07830-4132 | CALIFON |  |  |  |  | 40.7061 | -74.8819 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 ORCHARD ST, CALIFON, NJ 07830-4133 | 07830-4133 | CALIFON |  |  |  |  | 40.7058 | -74.8817 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 ORCHARD ST, CALIFON, NJ 07830-4132 | 07830-4132 | CALIFON |  |  |  |  | 40.7059 | -74.8822 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 ORCHARD ST, CALIFON, NJ 07830-4133 | 07830-4133 | CALIFON |  |  |  |  | 40.7055 | -74.8822 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 ORCHARD ST, CALIFON, NJ 07830-4132 | 07830-4132 | CALIFON |  |  |  |  | 40.7057 | -74.8824 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 ORCHARD ST, CALIFON, NJ 07830-4132 | 07830-4132 | CALIFON |  |  |  |  | 40.7056 | -74.8829 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 ORCHARD ST, CALIFON, NJ 07830-4133 | 07830-4133 | CALIFON |  |  |  |  | 40.7053 | -74.8831 |  | UL | N | C |  | UX |  |  |  |  | F1
| 21 ORCHARD ST, CALIFON, NJ 07830-4133 | 07830-4133 | CALIFON |  |  |  |  | 40.7057 | -74.8835 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 300 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7049 | -74.8807 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 302 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7046 | -74.8811 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 308 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7043 | -74.882 |  | UL | N | C |  | UX |  |  |  |  | F1
| 312 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7035 | -74.8833 |  | UL | N | UX |  | UX
| 309 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7037 | -74.8826 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 307 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.704 | -74.8818 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 305 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7042 | -74.8813 |  | UL | N | C |  | UX |  |  |  |  | F1
| 303 MEIERS LN, CALIFON, NJ 07830-4120 | 07830-4120 | CALIFON |  |  |  |  | 40.7044 | -74.8809 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 110 HILLSIDE TER, CALIFON, NJ 07830-4118 | 07830-4118 | CALIFON |  |  |  |  | 40.703 | -74.8814 |  | UL | N | C |  | UX |  |  |  |  | F1
| 118 HILLSIDE TER, CALIFON, NJ 07830-4118 | 07830-4118 | CALIFON |  |  |  |  | 40.7035 | -74.88 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 120 HILLSIDE TER, CALIFON, NJ 07830-4118 | 07830-4118 | CALIFON |  |  |  |  | 40.7037 | -74.8798 |  | UL | N | C |  | UX |  |  |  |  | F1
| 122 HILLSIDE TER, CALIFON, NJ 07830-4118 | 07830-4118 | CALIFON |  |  |  |  | 40.7038 | -74.8795 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 121 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7039 | -74.88 |  | UL | N | C |  | UX |  |  |  |  | F1
| 119 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7037 | -74.8804 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 117 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7035 | -74.8807 |  | UL | N | C |  | UX |  |  |  |  | F1
| 115 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7034 | -74.8811 |  | UL | N | C |  | UX |  |  |  |  | F1
| 113 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7032 | -74.8814 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 111 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7031 | -74.8819 |  | UL | N | UX |  | UX
| 109 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7029 | -74.8822 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 107 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7028 | -74.8825 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 105 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7031 | -74.8828 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | RRN
| 103 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7027 | -74.8828 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 101 HILLSIDE TER, CALIFON, NJ 07830-4119 | 07830-4119 | CALIFON |  |  |  |  | 40.7025 | -74.8832 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 293 COUNTY ROAD 513, CALIFON, NJ 07830-4162 | 07830-4162 | CALIFON |  |  |  |  | 40.7023 | -74.8826 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 295 COUNTY ROAD 513, CALIFON, NJ 07830-4162 | 07830-4162 | CALIFON |  |  |  |  | 40.7024 | -74.8821 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 ROCK WOOD LN, CALIFON, NJ 07830-4144 | 07830-4144 | CALIFON |  |  |  |  | 40.7084 | -74.8837 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 408 WINDSWEPT LN, CALIFON, NJ 07830-4177 | 07830-4177 | CALIFON |  |  |  |  | 40.7057 | -74.8794 |  | UL | N | UX |  | P | [8 empty] | F1
| 410 WINDSWEPT LN, CALIFON, NJ 07830-4177 | 07830-4177 | CALIFON |  |  |  |  | 40.7057 | -74.8798 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 BOULDER FIELD RD, CALIFON, NJ 07830-4151 | 07830-4151 | CALIFON |  |  |  |  | 40.7093 | -74.8848 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 42 SUN MOUNTAIN ST, CALIFON, NJ 07830-4126 | 07830-4126 | CALIFON |  |  |  |  | 40.7067 | -74.8828 |  | G |  | O | P/C | G |  |  |  |  | RRN |  |  |  | F1
| 10 ORCHARD ST, CALIFON, NJ 07830-4135 | 07830-4135 | CALIFON |  |  |  |  | 40.7063 | -74.8814 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 414 NORTH RD, CALIFON, NJ 07830-4176 | 07830-4176 | CALIFON |  |  |  |  | 40.7056 | -74.8808 |  | UL | N | C |  | UX |  |  |  |  | F1
| 7 BUNNVALE RD, CALIFON, NJ 07830-4140 | 07830-4140 | CALIFON |  |  |  |  | 40.7028 | -74.8837 |  | UL | N | UX |  | UX
| 1 ORCHARD ST, CALIFON, NJ 07830-4134 | 07830-4134 | CALIFON |  |  |  |  | 40.7073 | -74.8796 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | RRN
| 6 HIGH VIEW ST, CALIFON, NJ 07830-4123 | 07830-4123 | CALIFON |  |  |  |  | 40.7069 | -74.8857 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1