## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Bear Brook |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1907002 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown
V. Non-lead | [9 empty] | 87
|  | # of LSLs to be replaced/identified: |  | 0 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 87 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-07 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 5 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0123 | -74.8226 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 36 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0137 | -74.8206 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 8 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | -74.8226 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 32 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0134 | -74.8214 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 38 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.014 | -74.8206 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 9 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0162 | -74.8227 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 25 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0138 | -74.8241 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | -74.822 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 27 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | -74.8235 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0178 | -74.8299 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0168 | -74.8301 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 6 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0177 | -74.8296 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0174 | -74.8304 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0188 | -74.8279 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0167 | -74.8296 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.012 | -74.8234 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0163 | -74.8306 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0164 | -74.8303 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.017 | -74.8308 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.016 | -74.8312 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0167 | -74.8311 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0166 | -74.8314 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 22 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0161 | -74.8318 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 26 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0156 | -74.8319 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 30 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0152 | -74.8315 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0174 | -74.8289 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0172 | -74.8289 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 7 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0167 | -74.8288 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 11 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0163 | -74.8291 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 17 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0159 | -74.8299 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 21 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0156 | -74.8305 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0181 | -74.8291 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0179 | -74.8288 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0188 | -74.8284 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 10 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0191 | -74.8277 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0194 | -74.8276 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0197 | -74.8275 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0199 | -74.8277 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0126 | -74.8225 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0153 | -74.823 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 28 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0131 | -74.8224 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 35 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0142 | -74.8214 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0165 | -74.8289 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0161 | -74.8293 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 15 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0159 | -74.8296 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 19 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.0158 | -74.8302 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0171 | -74.8296 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0178 | -74.8301 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.017 | -74.8299 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0166 | -74.8302 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0172 | -74.8306 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0161 | -74.8309 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0168 | -74.8309 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0164 | -74.8317 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 24 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0159 | -74.8319 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0185 | -74.8288 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0183 | -74.8285 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0163 | -74.8223 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 SEMINOLE CT, NEWTON, NJ 07860-5233 | 07860-5233 | NEWTON |  |  |  |  | 41.017 | -74.8289 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0113 | -74.8239 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 4 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0148 | -74.8234 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0165 | -74.8298 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 34 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | -74.8209 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 30 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0133 | -74.8218 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 37 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0143 | -74.8211 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0124 | -74.8231 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 31 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0135 | -74.8222 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0151 | -74.8312 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 TROON DR, NEWTON, NJ 07860-5235 | 07860-5235 | NEWTON |  |  |  |  | 41.0157 | -74.8311 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 40 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0142 | -74.8207 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0158 | -74.8229 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0151 | -74.8237 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 2 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0129 | -74.823 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0158 | -74.8218 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 10 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0164 | -74.83 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0155 | -74.8234 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 29 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0134 | -74.8227 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 AUGUSTA CT, NEWTON, NJ 07860-5236 | 07860-5236 | NEWTON |  |  |  |  | 41.0119 | -74.8229 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 33 PLAYERS BLVD, NEWTON, NJ 07860-1900 | 07860-1900 | NEWTON |  |  |  |  | 41.0138 | -74.8216 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0185 | -74.8281 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0147 | -74.8315 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0149 | -74.8313 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 SPYGLASS HL, NEWTON, NJ 07860-5239 | 07860-5239 | NEWTON |  |  |  |  | 41.0161 | -74.8219 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 28 TROON DR, NEWTON, NJ 07860-5234 | 07860-5234 | NEWTON |  |  |  |  | 41.0154 | -74.8317 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 PINE VALLEY RD, NEWTON, NJ 07860-5240 | 07860-5240 | NEWTON |  |  |  |  | 41.0192 | -74.8281 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 SEMINOLE CT, NEWTON, NJ 07860-5232 | 07860-5232 | NEWTON |  |  |  |  | 41.0169 | -74.8295 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| PLAYERS BLVD/MAINT BLDG, NEWTON, NJ 07860 | 07860 | NEWTON |  |  |  |  | 41.0151 | -74.8244 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Irrigation line only from the maintenance building