## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Wallkill |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1911001 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown | [9 empty] | 62
V. Non-lead | [9 empty] | 382
|  | # of LSLs to be replaced/identified: |  | 62 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 444 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-10 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 12 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1436 | -74.6011 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 51 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1437 | -74.6081 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1435 | -74.6011 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 16 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1434 | -74.6012 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1455 | -74.6007 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1455 | -74.6006 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1455 | -74.6006 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 19 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1423 | -74.6087 |  | UL | N | UX |  | UX
| 1 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1446 | -74.5995 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 MEADOW LN, HAMBURG, NJ 07419-2510 | 07419-2510 | HAMBURG |  |  |  |  | 41.1443 | -74.5993 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1446 | -74.5995 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 4 MEADOW LN, HAMBURG, NJ 07419-2510 | 07419-2510 | HAMBURG |  |  |  |  | 41.1444 | -74.5993 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1447 | -74.5995 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 MEADOW LN, HAMBURG, NJ 07419-2510 | 07419-2510 | HAMBURG |  |  |  |  | 41.1444 | -74.5992 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1447 | -74.5994 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 MEADOW LN, HAMBURG, NJ 07419-2510 | 07419-2510 | HAMBURG |  |  |  |  | 41.1444 | -74.5992 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1448 | -74.5994 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 11 MEADOW LN, HAMBURG, NJ 07419-2521 | 07419-2521 | HAMBURG |  |  |  |  | 41.1448 | -74.5994 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3331 RT 94 SUITE 5, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1396 | -74.6026 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential
| 3331 RT 94 SUITE 3, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1395 | -74.6026 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential
| 149 WHEATSWORTH RD, HAMBURG, NJ 07419-2607 | 07419-2607 | HAMBURG | [7 empty] | UL | N | UX |  | UX
| 1 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.142 | -74.608 |  | UL | N | UX |  | UX
| 21 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1423 | -74.6087 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 MEADOW LN, HAMBURG, NJ 07419-2522 | 07419-2522 | HAMBURG |  |  |  |  | 41.1448 | -74.599 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 MEADOW LN, HAMBURG, NJ 07419-2522 | 07419-2522 | HAMBURG |  |  |  |  | 41.1448 | -74.5989 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| 6 MEADOW LN, HAMBURG, NJ 07419-2522 | 07419-2522 | HAMBURG |  |  |  |  | 41.1447 | -74.5989 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1433 | -74.6005 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 4 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1433 | -74.6005 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1433 | -74.6004 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1436 | -74.6001 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1436 | -74.6001 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1437 | -74.6 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.1439 | -74.6001 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 23 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1423 | -74.6088 |  | UL | N | UX |  | P | [8 empty] | F1
| 16 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.144 | -74.6001 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 18 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.144 | -74.6002 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 20 COTTON CT, HAMBURG, NJ 07419-9780 | 07419-9780 | HAMBURG |  |  |  |  | 41.144 | -74.6003 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1414 | -74.6025 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1417 | -74.6023 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1414 | -74.6025 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 4 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1417 | -74.6023 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1414 | -74.6026 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 6 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1417 | -74.6024 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 7 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1415 | -74.6027 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 25 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1425 | -74.6088 |  | UL | N | UX |  | P | [8 empty] | F1
| 8 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1417 | -74.6025 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1414 | -74.6032 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6025 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 BEECHMONT TER, HAMBURG, NJ 07419-9721 | 07419-9721 | HAMBURG |  |  |  |  | 41.1414 | -74.6033 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6031 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 BEECHMONT TER, HAMBURG, NJ 07419-9724 | 07419-9724 | HAMBURG |  |  |  |  | 41.1413 | -74.6033 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6032 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 BEECHMONT TER, HAMBURG, NJ 07419-9724 | 07419-9724 | HAMBURG |  |  |  |  | 41.1413 | -74.6033 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6033 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 BEECHMONT TER, HAMBURG, NJ 07419-9724 | 07419-9724 | HAMBURG |  |  |  |  | 41.1412 | -74.6034 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 27 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1426 | -74.6088 |  | UL | N | UX |  | P | [8 empty] | F1
| 18 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6034 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1418 | -74.6034 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 22 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1414 | -74.6037 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 24 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1414 | -74.6037 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 26 BEECHMONT TER, HAMBURG, NJ 07419-9722 | 07419-9722 | HAMBURG |  |  |  |  | 41.1413 | -74.6037 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 28 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1413 | -74.6038 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 30 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1404 | -74.6042 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 32 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1404 | -74.6041 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 34 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1403 | -74.6041 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 36 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1403 | -74.604 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 29 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1426 | -74.6087 |  | UL | N | UX |  | UX
| 38 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1402 | -74.604 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3331 RT 94S UNIT1, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1398 | -74.6024 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential
| 40 BEECHMONT TER, HAMBURG, NJ 07419-9723 | 07419-9723 | HAMBURG |  |  |  |  | 41.1402 | -74.6039 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1416 | -74.6092 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1414 | -74.6096 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1415 | -74.6092 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1413 | -74.6097 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1415 | -74.6093 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 6 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1412 | -74.6097 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1414 | -74.6094 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1412 | -74.6098 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 31 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1427 | -74.6087 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1413 | -74.6095 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1411 | -74.6098 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1412 | -74.6096 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.141 | -74.6099 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1411 | -74.6096 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1409 | -74.61 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.141 | -74.6096 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.1409 | -74.6102 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 17 STONEHILL RD, HAMBURG, NJ 07419-2547 | 07419-2547 | HAMBURG |  |  |  |  | 41.141 | -74.6097 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1408 | -74.6102 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 33 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1427 | -74.6086 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1408 | -74.6098 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1407 | -74.6103 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 21 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1407 | -74.6098 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 23 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1406 | -74.6098 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 25 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1405 | -74.6099 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 27 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1405 | -74.61 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 29 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1405 | -74.6101 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 31 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1406 | -74.6102 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 33 STONEHILL RD, HAMBURG, NJ 07419-2549 | 07419-2549 | HAMBURG |  |  |  |  | 41.1407 | -74.6102 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.146 | -74.6072 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 35 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1427 | -74.6086 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1459 | -74.6071 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1461 | -74.6072 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.146 | -74.607 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1462 | -74.6071 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 6 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1461 | -74.6069 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 7 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1463 | -74.607 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1461 | -74.6069 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1464 | -74.6069 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1463 | -74.6068 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1465 | -74.6068 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 37 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1433 | -74.6081 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1463 | -74.6067 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1465 | -74.6068 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1464 | -74.6066 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 15 FERNDALE LN, HAMBURG, NJ 07419-9730 | 07419-9730 | HAMBURG |  |  |  |  | 41.1466 | -74.6067 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 16 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1465 | -74.6066 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| 18 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1465 | -74.6066 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1466 | -74.6065 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1434 | -74.6013 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| 20 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1434 | -74.6014 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 22 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1434 | -74.6015 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 24 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1435 | -74.6016 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 26 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1436 | -74.6017 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 28 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1437 | -74.6016 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| 30 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1437 | -74.6016 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 32 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.1438 | -74.6015 |  | NL |  | O | Unknown Not Lead | P |  |  |  |  | RRN |  |  |  | F1
| 53 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1439 | -74.6069 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 34 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.144 | -74.6014 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 36 MOSS CT, HAMBURG, NJ 07419-9768 | 07419-9768 | HAMBURG |  |  |  |  | 41.144 | -74.6013 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 38 MOSS CT, HAMBURG, NJ 07419-9772 | 07419-9772 | HAMBURG |  |  |  |  | 41.1441 | -74.6013 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 40 MOSS CT, HAMBURG, NJ 07419-9772 | 07419-9772 | HAMBURG |  |  |  |  | 41.1442 | -74.6013 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1429 | -74.6006 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1429 | -74.6006 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1428 | -74.6007 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1428 | -74.6007 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1427 | -74.6008 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 11 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1427 | -74.6008 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 55 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.144 | -74.6069 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1424 | -74.601 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 15 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1424 | -74.601 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 17 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1423 | -74.6011 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1423 | -74.6011 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 21 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.1422 | -74.6011 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 23 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.142 | -74.6013 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 25 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.142 | -74.6014 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 SPRUCE RUN, HAMBURG, NJ 07419-9717 | 07419-9717 | HAMBURG |  |  |  |  | 41.142 | -74.6014 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1405 | -74.6035 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1408 | -74.6033 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 57 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1441 | -74.6069 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1406 | -74.6036 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1408 | -74.6033 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1406 | -74.6037 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 6 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1408 | -74.6034 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 8 MAGNOLIA LN, HAMBURG, NJ 07419-9725 | 07419-9725 | HAMBURG |  |  |  |  | 41.1408 | -74.6035 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 DRUID LN, HAMBURG, NJ 07419-9720 | 07419-9720 | HAMBURG |  |  |  |  | 41.1424 | -74.6019 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 2 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.1429 | -74.6014 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3 DRUID LN, HAMBURG, NJ 07419-9720 | 07419-9720 | HAMBURG |  |  |  |  | 41.1424 | -74.6019 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 4 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.143 | -74.6015 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 DRUID LN, HAMBURG, NJ 07419-9720 | 07419-9720 | HAMBURG |  |  |  |  | 41.1423 | -74.602 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 59 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1441 | -74.607 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.143 | -74.6016 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 DRUID LN, HAMBURG, NJ 07419-9720 | 07419-9720 | HAMBURG |  |  |  |  | 41.1423 | -74.602 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.143 | -74.6019 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.143 | -74.6019 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.1429 | -74.602 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 DRUID LN, HAMBURG, NJ 07419-9718 | 07419-9718 | HAMBURG |  |  |  |  | 41.1429 | -74.602 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1426 | -74.6022 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1435 | -74.6094 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 7 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1455 | -74.61 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 1 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1457 | -74.6099 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1455 | -74.61 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 6 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1436 | -74.6095 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 4 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1437 | -74.6095 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 2 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1438 | -74.6096 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 10 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1435 | -74.6093 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 12 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1434 | -74.6092 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 14 VIRGINIA DR, HAMBURG, NJ 07419-9793 | 07419-9793 | HAMBURG |  |  |  |  | 41.1434 | -74.6091 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3331 RT 94 SOUTH, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1397 | -74.6025 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential
| 18 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1426 | -74.6022 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1425 | -74.6022 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 22 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1425 | -74.6023 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.142 | -74.6082 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 61 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1442 | -74.607 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 24 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1424 | -74.6023 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 26 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1422 | -74.6025 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 28 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.1421 | -74.6025 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 30 DRUID LN, HAMBURG, NJ 07419-9719 | 07419-9719 | HAMBURG |  |  |  |  | 41.142 | -74.6024 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 ROLLING BROOK WAY, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1419 | -74.6018 |  | UL | N | UX |  | C | [8 empty] | F1
| 1 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1415 | -74.608 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1414 | -74.6083 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1414 | -74.608 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1414 | -74.6083 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1413 | -74.6081 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 63 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1443 | -74.607 |  | UL | N | UX |  | P | [8 empty] | F1
| 6 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1413 | -74.6084 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1413 | -74.6081 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1413 | -74.6085 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1412 | -74.6082 |  | NL |  | C |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 10 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1412 | -74.6086 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 12 PEACHTREE LN, HAMBURG, NJ 07419-2548 | 07419-2548 | HAMBURG |  |  |  |  | 41.1412 | -74.6087 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 8 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1451 | -74.6087 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1452 | -74.6087 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1453 | -74.6086 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 22 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1467 | -74.6064 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 24 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1468 | -74.6063 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 26 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.1469 | -74.6062 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 39 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1433 | -74.6082 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 28 FERNDALE LN, HAMBURG, NJ 07419-9731 | 07419-9731 | HAMBURG |  |  |  |  | 41.147 | -74.6062 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1457 | -74.608 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1456 | -74.6082 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1457 | -74.6079 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1456 | -74.6081 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1456 | -74.6078 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1455 | -74.608 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1456 | -74.6078 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1456 | -74.6077 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1455 | -74.6076 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.142 | -74.6081 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 41 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1433 | -74.6083 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1454 | -74.6076 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 15 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1453 | -74.6076 |  | NL |  | O | Unknown Not Lead | C |  |  |  |  | RRN |  |  |  | F1
| 17 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1453 | -74.6076 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 KRISTEN CT, HAMBURG, NJ 07419-9630 | 07419-9630 | HAMBURG |  |  |  |  | 41.1452 | -74.6077 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1456 | -74.6053 |  | UL | N | UX |  | UX
| 3 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1455 | -74.6053 |  | UL | N | UX |  | UX
| 5 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1454 | -74.6053 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1454 | -74.6053 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1453 | -74.6053 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1453 | -74.6086 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 65 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1444 | -74.607 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1454 | -74.6085 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.145 | -74.6089 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 21 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1451 | -74.6089 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 23 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1452 | -74.6089 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 25 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1453 | -74.6088 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1454 | -74.6087 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 29 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1455 | -74.6086 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 31 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1455 | -74.6086 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 33 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1456 | -74.6085 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 35 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1457 | -74.6085 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 67 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1445 | -74.6069 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 37 WINDING WAY, HAMBURG, NJ 07419-9653 | 07419-9653 | HAMBURG |  |  |  |  | 41.1457 | -74.6084 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1444 | -74.6095 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1446 | -74.6093 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1445 | -74.6095 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1447 | -74.6094 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1446 | -74.6096 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1447 | -74.6094 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1446 | -74.6096 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1448 | -74.6095 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 MULBERRY LN, HAMBURG, NJ 07419-9663 | 07419-9663 | HAMBURG |  |  |  |  | 41.1449 | -74.6095 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 71 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1445 | -74.6068 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.1441 | -74.6089 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1453 | -74.6053 |  | UL | N | UX |  | P | [8 empty] | F1
| 43 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1434 | -74.6083 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 15 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1452 | -74.6054 |  | UL | N | UX |  | UX
| 17 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1451 | -74.6055 |  | UL | N | UX |  | UX
| 19 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.145 | -74.6055 |  | UL | N | UX |  | UX
| 21 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.145 | -74.6055 |  | UL | N | UX |  | P | [8 empty] | F1
| 23 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.145 | -74.6055 |  | UL | N | UX |  | UX
| 25 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1448 | -74.6056 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 27 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1449 | -74.6057 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 29 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1449 | -74.6058 |  | UL | N | UX |  | P | [8 empty] | F1
| 31 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1449 | -74.6058 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 33 FOX TAIL LN, HAMBURG, NJ 07419-9775 | 07419-9775 | HAMBURG |  |  |  |  | 41.1449 | -74.6059 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 45 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1436 | -74.6078 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 35 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.145 | -74.6061 |  | UL | N | UX |  | UX
| 37 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.145 | -74.6061 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 39 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1451 | -74.6062 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 41 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1451 | -74.6063 |  | UL | N | UX |  | UX
| 43 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1452 | -74.6064 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 45 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1454 | -74.6063 |  | UL | N | UX |  | P | [8 empty] | F1
| 47 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1455 | -74.6062 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 49 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1456 | -74.6061 |  | UL | N | UX |  | UX
| 51 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1456 | -74.6061 |  | UL | N | UX |  | UX
| 53 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1457 | -74.606 |  | UL | N | UX |  | UX
| 47 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1436 | -74.6079 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 55 FOX TAIL LN, HAMBURG, NJ 07419-9754 | 07419-9754 | HAMBURG |  |  |  |  | 41.1457 | -74.6059 |  | UL | N | UX |  | P | [8 empty] | F1
| 1 WOODBINE DR, HAMBURG, NJ 07419-9756 | 07419-9756 | HAMBURG |  |  |  |  | 41.1451 | -74.6043 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 WOODBINE DR, HAMBURG, NJ 07419-9756 | 07419-9756 | HAMBURG |  |  |  |  | 41.1451 | -74.6044 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.144 | -74.6087 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 WOODBINE DR, HAMBURG, NJ 07419-9756 | 07419-9756 | HAMBURG |  |  |  |  | 41.1451 | -74.6044 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 WOODBINE DR, HAMBURG, NJ 07419-9756 | 07419-9756 | HAMBURG |  |  |  |  | 41.1452 | -74.6044 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 PIPPIN LN, HAMBURG, NJ 07419-9762 | 07419-9762 | HAMBURG |  |  |  |  | 41.1466 | -74.6049 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 PIPPIN LN, HAMBURG, NJ 07419-9762 | 07419-9762 | HAMBURG |  |  |  |  | 41.1466 | -74.6048 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 PIPPIN LN, HAMBURG, NJ 07419-9762 | 07419-9762 | HAMBURG |  |  |  |  | 41.1467 | -74.6048 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 PIPPIN LN, HAMBURG, NJ 07419-9762 | 07419-9762 | HAMBURG |  |  |  |  | 41.1468 | -74.6047 |  | UL | N | UX |  | P | [8 empty] | F1
| 9 PIPPIN LN, HAMBURG, NJ 07419-9762 | 07419-9762 | HAMBURG |  |  |  |  | 41.1469 | -74.6047 |  | UL | N | UX |  | UX
| 49 SHADY LN, HAMBURG, NJ 07419-9777 | 07419-9777 | HAMBURG |  |  |  |  | 41.1437 | -74.608 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 FOX CHASE LN, HAMBURG, NJ 07419-9732 | 07419-9732 | HAMBURG |  |  |  |  | 41.1444 | -74.6012 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 FOX CHASE LN, HAMBURG, NJ 07419-9732 | 07419-9732 | HAMBURG |  |  |  |  | 41.1444 | -74.6013 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 FOX CHASE LN, HAMBURG, NJ 07419-9732 | 07419-9732 | HAMBURG |  |  |  |  | 41.1444 | -74.6014 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 FOX CHASE LN, HAMBURG, NJ 07419-9732 | 07419-9732 | HAMBURG |  |  |  |  | 41.1445 | -74.6015 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 MOSS CT, HAMBURG, NJ 07419-9783 | 07419-9783 | HAMBURG |  |  |  |  | 41.1442 | -74.601 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 MOSS CT, HAMBURG, NJ 07419-9783 | 07419-9783 | HAMBURG |  |  |  |  | 41.1441 | -74.601 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.144 | -74.6011 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 8 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1439 | -74.6011 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 MOSS CT, HAMBURG, NJ 07419-9769 | 07419-9769 | HAMBURG |  |  |  |  | 41.1437 | -74.6011 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.1436 | -74.6091 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.1441 | -74.6089 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.1437 | -74.6091 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.144 | -74.609 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.1437 | -74.609 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.144 | -74.609 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 8 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.1438 | -74.6089 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.1439 | -74.6091 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.144 | -74.6088 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 73 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1445 | -74.6068 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 CRESTMONT CT, HAMBURG, NJ 07419-9758 | 07419-9758 | HAMBURG |  |  |  |  | 41.1438 | -74.6091 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 14 CRESTMONT CT, HAMBURG, NJ 07419-9765 | 07419-9765 | HAMBURG |  |  |  |  | 41.1441 | -74.6087 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1445 | -74.6088 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1444 | -74.6087 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1444 | -74.6087 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1444 | -74.6086 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1443 | -74.6085 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 HIGHVIEW KNL, HAMBURG, NJ 07419-9664 | 07419-9664 | HAMBURG |  |  |  |  | 41.1443 | -74.6084 |  | NL |  | P |  | O | Unknown Not Lead |  |  |  | F1 |  |  |  | RRN
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 10, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1435 | -74.5995 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 9, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1435 | -74.5996 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 75 SHADY LN, HAMBURG, NJ 07419-9700 | 07419-9700 | HAMBURG |  |  |  |  | 41.1445 | -74.6066 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 9, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1434 | -74.5996 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 8, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1434 | -74.5996 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 7, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1434 | -74.5997 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 6, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1433 | -74.5997 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG B STE 5, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1433 | -74.5997 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG D, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1422 | -74.6006 |  | NL |  | O | Ductile Iron | C |  |  |  |  | F1 |  |  |  | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG D STE 3, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1421 | -74.6006 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG D STE 2, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1423 | -74.6005 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG D STE 1, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.142 | -74.6007 |  | UL | N | UX |  | C | [8 empty] | F1 | [6 empty] | Other non-residential | Built in 1989
| 3339 RT 94 MERCHANTILE MALL BLDG D, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.142 | -74.6007 |  | UL | N | UX |  | UX | [15 empty] | Other non-residential | Built in 1989
| 77 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.6069 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 80 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1436 | -74.6057 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 24 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1419 | -74.6047 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 OVERLOOK LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1431 | -74.6035 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 44 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1431 | -74.6077 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1412 | -74.6052 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 23 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1423 | -74.6052 |  | NL |  | O | Black Iron | P |  |  |  |  | F1 |  |  |  | F1
| 20 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1415 | -74.6051 |  | UL | N | UX |  | UX
| 32 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1427 | -74.6043 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 OVERLOOK LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1434 | -74.6028 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 79 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.607 |  | UL | N | UX |  | UX
| 25 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1424 | -74.605 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 OVERLOOK LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1448 | -74.6024 |  | UL | N | UX |  | UX
| 72 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1433 | -74.6068 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 31 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1426 | -74.605 |  | UL | N | UX |  | P | [8 empty] | F1
| 82 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1437 | -74.6054 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 28 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1422 | -74.6046 |  | UL | N | UX |  | P | [8 empty] | F1
| 3 OVERLOOK LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.144 | -74.6028 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 101 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1441 | -74.5996 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 22 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1418 | -74.6049 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 81 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.6071 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 76 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1436 | -74.6058 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 103 SHADY LN, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1445 | -74.6051 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 69 WITS END RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.146 | -74.6021 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 WITS END DR, HAMBURG, NJ 07419-9727 | 07419-9727 | HAMBURG |  |  |  |  | 41.14 | -74.6048 |  | UL | N | UX |  | UX
| 7 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.1421 | -74.6082 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 83 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.6071 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 85 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.6072 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 87 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1418 | -74.6073 |  | UL | N | UX |  | UX
| 89 SHADY LN, HAMBURG, NJ 07419-9779 | 07419-9779 | HAMBURG |  |  |  |  | 41.1419 | -74.6074 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1459 | -74.6056 |  | UL | N | UX |  | UX
| 3 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.146 | -74.6057 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1461 | -74.6057 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1462 | -74.6057 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1464 | -74.6056 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1465 | -74.6055 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.1421 | -74.6084 |  | UL | N | UX |  | UX
| 13 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1466 | -74.6055 |  | UL | N | UX |  | UX
| 15 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1467 | -74.6054 |  | UL | N | C |  | UX |  |  |  |  | F1
| 17 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1467 | -74.6053 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 QUAIL CT, HAMBURG, NJ 07419-9759 | 07419-9759 | HAMBURG |  |  |  |  | 41.1468 | -74.6053 |  | UL | N | UX |  | UX
| 21 QUAIL CT, HAMBURG, NJ 07419-9760 | 07419-9760 | HAMBURG |  |  |  |  | 41.1471 | -74.6045 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 23 QUAIL CT, HAMBURG, NJ 07419-9760 | 07419-9760 | HAMBURG |  |  |  |  | 41.1471 | -74.6043 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 25 QUAIL CT, HAMBURG, NJ 07419-9760 | 07419-9760 | HAMBURG |  |  |  |  | 41.1471 | -74.6042 |  | UL | N | UX |  | UX
| 27 QUAIL CT, HAMBURG, NJ 07419-9760 | 07419-9760 | HAMBURG |  |  |  |  | 41.147 | -74.6041 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1451 | -74.6103 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 3 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1456 | -74.6099 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 9 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1453 | -74.6101 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1452 | -74.6102 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 11 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1453 | -74.6102 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 29 QUAIL CT, HAMBURG, NJ 07419-9760 | 07419-9760 | HAMBURG |  |  |  |  | 41.147 | -74.604 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 31 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1469 | -74.6036 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.1422 | -74.6085 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 33 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1468 | -74.6037 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 35 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1467 | -74.6037 |  | UL | N | UX |  | UX
| 37 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1465 | -74.6035 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 39 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1464 | -74.6036 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 41 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1463 | -74.6036 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 43 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1462 | -74.6037 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 45 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1462 | -74.6037 |  | UL | N | UX |  | UX
| 47 QUAIL CT, HAMBURG, NJ 07419-9761 | 07419-9761 | HAMBURG |  |  |  |  | 41.1461 | -74.6038 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 1 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1467 | -74.6028 |  | UL | N | UX |  | UX
| 3 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1466 | -74.6028 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 SHADY LN, HAMBURG, NJ 07419-9778 | 07419-9778 | HAMBURG |  |  |  |  | 41.1422 | -74.6086 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1465 | -74.6029 |  | UL | N | UX |  | UX
| 7 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1465 | -74.603 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1464 | -74.603 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1463 | -74.6031 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1462 | -74.6032 |  | UL | N | UX |  | UX
| 15 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1461 | -74.6033 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 17 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.146 | -74.6033 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.146 | -74.6034 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 21 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1459 | -74.6034 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 23 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1458 | -74.6035 |  | UL | N | UX |  | UX
| 17 SHADY LN, HAMBURG, NJ 07419-9776 | 07419-9776 | HAMBURG |  |  |  |  | 41.1422 | -74.6087 |  | UL | N | UX |  | P | [8 empty] | F1
| 25 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1457 | -74.6036 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1454 | -74.6105 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1455 | -74.6104 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1456 | -74.6103 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1456 | -74.6103 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1451 | -74.6106 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1451 | -74.6106 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1453 | -74.6106 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1452 | -74.6106 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1456 | -74.6038 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 29 PEBBLESTONE LN, HAMBURG, NJ 07419-9757 | 07419-9757 | HAMBURG |  |  |  |  | 41.1456 | -74.6038 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1453 | -74.6011 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1453 | -74.6011 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 5 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1454 | -74.601 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 WOODMERE CT, HAMBURG, NJ 07419-2523 | 07419-2523 | HAMBURG |  |  |  |  | 41.1455 | -74.6008 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1432 | -74.6107 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 WINDING WAY, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1437 | -74.6104 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 WINDING WAY, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1436 | -74.6105 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1444 | -74.6108 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1442 | -74.6108 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1441 | -74.6109 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 24 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1447 | -74.6109 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 20 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1448 | -74.6108 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1449 | -74.6108 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 22 BROOKVIEW LN, HAMBURG, NJ 07419-1372 | 07419-1372 | HAMBURG |  |  |  |  | 41.1448 | -74.6109 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 PINECREST CT, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1887 | -74.5608 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 PINECREST CT, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1888 | -74.5601 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 PINECREST CT, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1893 | -74.5617 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 2 PINECREST CT, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1894 | -74.5612 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 PINECREST CT, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1894 | -74.5604 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.142 | -74.6109 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1417 | -74.6073 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3339 RT 94 UNIT 3.1D, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1422 | -74.6006 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1431 | -74.6107 |  | UL | N | C |  | UX |  |  |  |  | F1
| 5 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.143 | -74.6107 |  | UL | N | C |  | UX |  |  |  |  | F1
| 16 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1433 | -74.6112 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1435 | -74.6111 |  | UL | N | C |  | UX |  |  |  |  | F1
| 12 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1436 | -74.6111 |  | UL | N | C |  | UX |  |  |  |  | F1
| 10 RIDGEFIELD RD, HAMBURG, NJ 07419 | 07419 | HAMBURG |  |  |  |  | 41.1439 | -74.611 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1