## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Vernon Water |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1922008 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized | [9 empty] | 3
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown | [9 empty] | 10
V. Non-lead | [9 empty] | 193
|  | # of LSLs to be replaced/identified: |  | 13 |  |  | # of LSLs to be replaced annually: |  |  | 0.3
|  | Total # of service lines in PCWS: |  | 206 |  |  | # of known LSLs |  |  | 3
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-10 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 1 CHRISTINE PL, VERNON, NJ 07462-3512 | 07462-3512 | VERNON |  |  |  |  | 41.1871 | -74.5423 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 CHRISTINE PL, VERNON, NJ 07462-3512 | 07462-3512 | VERNON |  |  |  |  | 41.1873 | -74.5427 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 CHRISTINE PL, VERNON, NJ 07462-3511 | 07462-3511 | VERNON |  |  |  |  | 41.1876 | -74.5425 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 CHRISTINE PL, VERNON, NJ 07462-3512 | 07462-3512 | VERNON |  |  |  |  | 41.1875 | -74.5429 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 CHRISTINE PL, VERNON, NJ 07462-3511 | 07462-3511 | VERNON |  |  |  |  | 41.1879 | -74.5427 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 7 CHRISTINE PL, VERNON, NJ 07462-3512 | 07462-3512 | VERNON |  |  |  |  | 41.1878 | -74.5431 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 CHRISTINE PL, VERNON, NJ 07462-3511 | 07462-3511 | VERNON |  |  |  |  | 41.1881 | -74.5429 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 CHRISTINE PL, VERNON, NJ 07462-3512 | 07462-3512 | VERNON |  |  |  |  | 41.1878 | -74.5435 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 CHRISTINE PL, VERNON, NJ 07462-3511 | 07462-3511 | VERNON |  |  |  |  | 41.1882 | -74.5434 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1921 | -74.545 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 JEAN ST, VERNON, NJ 07462-3533 | 07462-3533 | VERNON |  |  |  |  | 41.1934 | -74.5387 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 JEAN ST, VERNON, NJ 07462-3533 | 07462-3533 | VERNON |  |  |  |  | 41.1937 | -74.5385 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 PARRISH DR, VERNON, NJ 07462-3530 | 07462-3530 | VERNON |  |  |  |  | 41.193 | -74.5387 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 PARRISH DR, VERNON, NJ 07462-3531 | 07462-3531 | VERNON |  |  |  |  | 41.1932 | -74.5392 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 20 PARRISH DR, VERNON, NJ 07462-3532 | 07462-3532 | VERNON |  |  |  |  | 41.1935 | -74.5391 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 SUSAN CT, VERNON, NJ 07462-3515 | 07462-3515 | VERNON |  |  |  |  | 41.1899 | -74.5403 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 SUSAN CT, VERNON, NJ 07462-3515 | 07462-3515 | VERNON |  |  |  |  | 41.1901 | -74.5398 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 SUSAN CT, VERNON, NJ 07462-3515 | 07462-3515 | VERNON |  |  |  |  | 41.1902 | -74.5402 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 CHRISTINE PL, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.188 | -74.5439 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 CHRISTINE PL, VERNON, NJ 07462-3511 | 07462-3511 | VERNON |  |  |  |  | 41.1883 | -74.5437 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 CARR LN, VERNON, NJ 07462-3518 | 07462-3518 | VERNON |  |  |  |  | 41.1893 | -74.5379 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 CARR LN, VERNON, NJ 07462-3519 | 07462-3519 | VERNON |  |  |  |  | 41.1897 | -74.5379 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 CARR LN, VERNON, NJ 07462-3518 | 07462-3518 | VERNON |  |  |  |  | 41.1895 | -74.5383 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 CARR LN, VERNON, NJ 07462-3519 | 07462-3519 | VERNON |  |  |  |  | 41.1898 | -74.5382 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 CARR LN, VERNON, NJ 07462-3519 | 07462-3519 | VERNON |  |  |  |  | 41.1899 | -74.5386 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1905 | -74.5383 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 WOODLAND DR, VERNON, NJ 07462-3514 | 07462-3514 | VERNON |  |  |  |  | 41.1907 | -74.5387 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1902 | -74.5385 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 30 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1904 | -74.5418 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 WOODLAND DR, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.1901 | -74.5392 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 WOODLAND DR, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.1899 | -74.5394 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1895 | -74.5398 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1893 | -74.5395 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1893 | -74.54 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.189 | -74.5398 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1891 | -74.5402 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 15 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1888 | -74.54 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1889 | -74.5404 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1886 | -74.5402 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1887 | -74.5406 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1883 | -74.5405 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1885 | -74.5408 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 21 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1881 | -74.5407 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 22 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1882 | -74.5411 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 23 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1879 | -74.5409 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 24 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.188 | -74.5413 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 25 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1877 | -74.5411 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 26 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1878 | -74.5415 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1874 | -74.5413 |  | UL | N | UX |  | UX
| 28 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1876 | -74.5417 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 29 WOODLAND DR, VERNON, NJ 07462-3517 | 07462-3517 | VERNON |  |  |  |  | 41.1872 | -74.5415 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 30 WOODLAND DR, VERNON, NJ 07462-3516 | 07462-3516 | VERNON |  |  |  |  | 41.1874 | -74.5419 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 31 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.187 | -74.5417 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 33 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1868 | -74.542 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 34 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1868 | -74.5426 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 35 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1866 | -74.5422 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 36 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1867 | -74.543 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 37 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1865 | -74.5426 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 38 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1866 | -74.5435 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 39 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1864 | -74.5429 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 40 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1863 | -74.5441 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 41 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1863 | -74.5433 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 43 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1861 | -74.5436 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 45 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.186 | -74.5439 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 46 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1859 | -74.5448 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 47 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1858 | -74.5441 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 48 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1857 | -74.5452 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 49 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1857 | -74.5445 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 50 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1856 | -74.5458 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 51 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1854 | -74.5447 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 52 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1859 | -74.5459 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 53 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1853 | -74.5451 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 54 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1863 | -74.5461 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 55 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1853 | -74.5455 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 56 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1865 | -74.5458 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 57 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1853 | -74.546 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 61 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.186 | -74.5465 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 62 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1868 | -74.5452 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 63 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1863 | -74.5465 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 64 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1873 | -74.5447 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 65 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1866 | -74.5463 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 66 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1875 | -74.5445 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 67 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1868 | -74.546 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 68 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1878 | -74.5443 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 69 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1869 | -74.5457 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 71 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1871 | -74.5454 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 73 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1874 | -74.5452 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 74 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1887 | -74.5433 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 75 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1876 | -74.545 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 76 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1889 | -74.5431 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 77 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1878 | -74.5448 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 78 WOODLAND DR, VERNON, NJ 07462-3513 | 07462-3513 | VERNON |  |  |  |  | 41.1891 | -74.5428 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 79 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.188 | -74.5445 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 81 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1882 | -74.5443 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 83 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1885 | -74.5441 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 85 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1887 | -74.5439 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 87 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1889 | -74.5437 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 89 WOODLAND DR, VERNON, NJ 07462-3510 | 07462-3510 | VERNON |  |  |  |  | 41.1891 | -74.5435 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 CEDAR RIDGE DR, VERNON, NJ 07462-3503 | 07462-3503 | VERNON |  |  |  |  | 41.1903 | -74.5374 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1906 | -74.5373 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 CEDAR RIDGE DR, VERNON, NJ 07462-3503 | 07462-3503 | VERNON |  |  |  |  | 41.1904 | -74.5377 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 CEDAR RIDGE DR, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.1907 | -74.5376 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1908 | -74.5378 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.191 | -74.5382 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.191 | -74.539 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1911 | -74.5385 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1911 | -74.5395 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 119 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1912 | -74.5388 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1911 | -74.5398 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1914 | -74.5395 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.191 | -74.5402 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1914 | -74.54 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1909 | -74.5406 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 20 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1913 | -74.5405 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 21 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1908 | -74.5409 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 23 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1905 | -74.5411 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 24 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.191 | -74.5411 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 25 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1903 | -74.5413 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 26 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1908 | -74.5414 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1901 | -74.5416 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 28 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1906 | -74.5416 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 29 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1899 | -74.5418 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 WOODLAND DR, VERNON, NJ 07462-3514 | 07462-3514 | VERNON |  |  |  |  | 41.1904 | -74.539 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 31 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1897 | -74.542 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 32 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1902 | -74.542 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 33 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1895 | -74.5423 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 34 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.19 | -74.5422 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 35 CEDAR RIDGE DR, VERNON, NJ 07462-3504 | 07462-3504 | VERNON |  |  |  |  | 41.1893 | -74.5425 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 36 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1898 | -74.5424 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 38 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1896 | -74.5427 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 39 CEDAR RIDGE DR, VERNON, NJ 07462-3505 | 07462-3505 | VERNON |  |  |  |  | 41.1895 | -74.5433 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 40 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1899 | -74.5433 |  | UL | N | C |  | UX |  |  |  |  | F1
| 42 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1903 | -74.5433 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 44 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1906 | -74.5432 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 45 CEDAR RIDGE DR, VERNON, NJ 07462-3505 | 07462-3505 | VERNON |  |  |  |  | 41.1904 | -74.5437 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 46 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1908 | -74.5431 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 48 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1911 | -74.5429 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 49 CEDAR RIDGE DR, VERNON, NJ 07462-3505 | 07462-3505 | VERNON |  |  |  |  | 41.1913 | -74.5433 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 50 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1913 | -74.5427 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 52 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1915 | -74.5426 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 53 CEDAR RIDGE DR, VERNON, NJ 07462-3505 | 07462-3505 | VERNON |  |  |  |  | 41.1917 | -74.543 |  | UL | N | UX |  | UX
| 54 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1918 | -74.5424 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 56 CEDAR RIDGE DR, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.192 | -74.5423 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 57 CEDAR RIDGE DR, VERNON, NJ 07462-3505 | 07462-3505 | VERNON |  |  |  |  | 41.1924 | -74.5425 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 58 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1922 | -74.5421 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 60 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1926 | -74.5419 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 61 CEDAR RIDGE DR, VERNON, NJ 07462-3507 | 07462-3507 | VERNON |  |  |  |  | 41.1933 | -74.542 |  | UL | N | UX |  | UX
| 63 CEDAR RIDGE DR, VERNON, NJ 07462-3507 | 07462-3507 | VERNON |  |  |  |  | 41.1936 | -74.5417 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 64 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1931 | -74.5416 |  | UL | N | UX |  | UX
| 65 CEDAR RIDGE DR, VERNON, NJ 07462-3507 | 07462-3507 | VERNON |  |  |  |  | 41.1939 | -74.5415 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 67 CEDAR RIDGE DR, VERNON, NJ 07462-3507 | 07462-3507 | VERNON |  |  |  |  | 41.1942 | -74.5413 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 68 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1937 | -74.5412 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 69 CEDAR RIDGE DR, VERNON, NJ 07462-3507 | 07462-3507 | VERNON |  |  |  |  | 41.1945 | -74.5411 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 70 CEDAR RIDGE DR, VERNON, NJ 07462-3506 | 07462-3506 | VERNON |  |  |  |  | 41.1941 | -74.5409 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 425 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.188 | -74.5375 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 431 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1887 | -74.5375 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 433 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1891 | -74.5374 |  | UL | N | C |  | UX |  |  |  |  | F1
| 435 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1896 | -74.5373 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 437 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1898 | -74.5371 |  | UL | N | UX |  | UX
| 439 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.19 | -74.537 |  | UL | N | UX |  | C | [8 empty] | F1
| 441 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1904 | -74.5367 |  | UL | N | UX |  | UX
| 443 COUNTY ROUTE 517, VERNON, NJ 07462-3500 | 07462-3500 | VERNON |  |  |  |  | 41.1906 | -74.5365 |  | UL | N | UX |  | UX
| 3 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1918 | -74.5401 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1918 | -74.5396 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1923 | -74.5403 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.192 | -74.5396 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1923 | -74.5397 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1917 | -74.5408 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1926 | -74.5402 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1914 | -74.5412 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1928 | -74.54 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1917 | -74.5414 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1932 | -74.5404 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1919 | -74.5412 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1921 | -74.541 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 18 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1928 | -74.5405 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 19 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1924 | -74.5409 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 20 FOX HOLLOW CT, VERNON, NJ 07462-3502 | 07462-3502 | VERNON |  |  |  |  | 41.1926 | -74.5407 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 LINCOLN AVE, VERNON, NJ 07462 | 07462 | VERNON |  |  |  |  | 41.1927 | -74.5393 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 LINCOLN AVE, VERNON, NJ 07462-3528 | 07462-3528 | VERNON |  |  |  |  | 41.1925 | -74.5387 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1925 | -74.5392 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 LINCOLN AVE, VERNON, NJ 07462-3528 | 07462-3528 | VERNON |  |  |  |  | 41.1922 | -74.5385 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 8 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1922 | -74.539 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 LINCOLN AVE, VERNON, NJ 07462-3528 | 07462-3528 | VERNON |  |  |  |  | 41.1921 | -74.5382 |  | NL |  | C |  | C |  | 2023 | 2023 |  | F2 |  |  |  | F2
| 10 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.192 | -74.5388 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 LINCOLN AVE, VERNON, NJ 07462-3528 | 07462-3528 | VERNON |  |  |  |  | 41.1919 | -74.5379 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1918 | -74.5384 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 LINCOLN AVE, VERNON, NJ 07462-3528 | 07462-3528 | VERNON |  |  |  |  | 41.1922 | -74.5375 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1917 | -74.5381 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1916 | -74.5378 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 18 LINCOLN AVE, VERNON, NJ 07462-3529 | 07462-3529 | VERNON |  |  |  |  | 41.1918 | -74.5375 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 3 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1932 | -74.5425 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1941 | -74.543 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 5 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1938 | -74.5429 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.194 | -74.5435 |  | NL |  | C |  | C |  | 2023 | 2023 |  | F2 |  |  |  | F2
| 7 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1937 | -74.5435 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1938 | -74.544 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.193 | -74.5436 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 10 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1934 | -74.544 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1927 | -74.5438 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.193 | -74.5441 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1925 | -74.5441 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 14 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1927 | -74.5444 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 15 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1921 | -74.5443 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1
| 16 JANEL DR, VERNON, NJ 07462-3509 | 07462-3509 | VERNON |  |  |  |  | 41.1925 | -74.5448 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 17 JANEL DR, VERNON, NJ 07462-3508 | 07462-3508 | VERNON |  |  |  |  | 41.1919 | -74.5447 |  | NL |  | P |  | P |  |  |  |  | F1 |  |  |  | F1