## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Harkers Hollow |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ2110003 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown
V. Non-lead | [9 empty] | 21
|  | # of LSLs to be replaced/identified: |  | 0 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 21 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-10 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 10 FAIRWAY DR, PHILLIPSBURG, NJ 08865-8304 | 08865-8304 | PHILLIPSBURG |  |  |  |  | 40.7241 | -75.1398 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 6 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7236 | -75.1405 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 10 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7241 | -75.1407 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 13 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.724 | -75.1415 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 7 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7239 | -75.1406 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 20 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7252 | -75.1411 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | O | Institutional Knowledge | [6 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 21 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7255 | -75.1421 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | O | Institutional Knowledge | [6 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 23 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7261 | -75.1424 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 852 UNIONTOWN RD, PHILLIPSBURG, NJ 08865-9418 | 08865-9418 | PHILLIPSBURG |  |  |  |  | 40.7227 | -75.1412 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 862 UNIONTOWN RD, PHILLIPSBURG, NJ 08865-9455 | 08865-9455 | PHILLIPSBURG |  |  |  |  | 40.7243 | -75.1416 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 1 HILLSIDE RD, PHILLIPSBURG, NJ 08865-8301 | 08865-8301 | PHILLIPSBURG |  |  |  |  | 40.7232 | -75.1412 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 16 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7249 | -75.141 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 14 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7247 | -75.1409 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 12 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7244 | -75.1408 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 4 HILLSIDE RD, PHILLIPSBURG, NJ 08865-8300 | 08865-8300 | PHILLIPSBURG |  |  |  |  | 40.723 | -75.1401 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 4 MARNEL RD, PHILLIPSBURG, NJ 08865-8302 | 08865-8302 | PHILLIPSBURG |  |  |  |  | 40.7233 | -75.1403 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 858 UNIONTOWN RD, PHILLIPSBURG, NJ 08865-9455 | 08865-9455 | PHILLIPSBURG |  |  |  |  | 40.7238 | -75.1414 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 856 UNIONTOWN RD, PHILLIPSBURG, NJ 08865-9455 | 08865-9455 | PHILLIPSBURG |  |  |  |  | 40.7235 | -75.1413 |  | NL |  | O | P/C | O | P/C |  |  |  | O | Institutional Knowledge |  |  | O | Institutional Knowledge | [6 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 17 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7249 | -75.1416 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 15 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7246 | -75.1415 |  | NL |  | C |  | O | P/C |  |  |  | F1 |  |  |  | O | Institutional Knowledge | [6 empty] | Distribution system was upgraded in 2015, all services were replaced.
| 19 MARNEL RD, PHILLIPSBURG, NJ 08865-8303 | 08865-8303 | PHILLIPSBURG |  |  |  |  | 40.7252 | -75.1417 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1 | [7 empty] | Distribution system was upgraded in 2015, all services were replaced.